## EN
QUESTIONNAIRE FOR Wastewater treatment plants
1 | Type of treatmend plant |  | SBR | Carusel | Classical
2 | The diagram of the treatment plant
3 | Designed flow of the treatment plant
4 | Input flow /day (average flow 12 months) |  | ¦ ¦ ¦ ¦ ¦ ¦ ¦ ¦ ¦ ¦ ¦ ¦
5 | Input analysis (monthly averages)
6 | Large fluctuations, seasonal | flow | yes |  | no
7 | How the water enters the treatment plant |  | gravity | pressure
8 | Measure ORP in treatment stages |  | yes |  | no
9 | The stage of desanding |  |  | classical | cyclone
10 | Problems with the desanding |  |  | yes | no
11 | Primary decanter |  |  | radial | longitudinal
12 | The flow from the decanter is uniform |  |  | yes | no
13 | Problems with the primary tank |  |  | yes | no
14 | Biological reactor |  |  | classical | carousel
|  |  | Anaerobic | Anoxic | Oxic
15 | Aeration |  |  | classical | surface
16 | The recirculation pumps have a frequency conveter |  | yes |  | no
17 | At how much % works the aeration |  | %
18 | O2 |  | min
max
19 | Problems with aeration |  | yes | no
20 | Quality of the sludge |  | concentration
Sedimentation at 30 minutes
SVI
21 | Recirculation (between aeration and denitrification) |  | yes |  | no
22 | Which is the % of recirculation |  | %
23 | Secundary decanters |  | Number
|  |  | Type | radial | longitudinal
24 | Are there mechanical or electrical problems |  | yes |  | no
25 | What are the problems with decantation
26 | The external recirculation is done from the distribution tank |  | yes |  | no
In anoxic with variable speed pumps
27 | Procentage of external recirculation |  | %
28 | Excess sludge goes to the buffer tank |  | exist | scraper
mixer
|  |  | there is aeration | yes | no
29 | Which is the tank volume
30 | Where leads the overflow of this tank
31 | The amount of sludge sent to dehydration
32 | Sludge sent to dehydration concentration
33 | Mechanical dehydration |  | centrifugal | pressing
34 | Use of ferric chloride |  | yes | not